## Slide 1
Kim Kalmbach
QED Environmental Systems
Dexter, Michigan – San Bernardino, California
LSGAM Software

## Slide 2: What is LSGAM?
Configured for operation with other companies systems and online service
Used offline as a local application storing information on the desktop/laptop computer
Use of the GEM5000 or GEM200 out of the box without software does not allow the user to generate flow rate values, select comments or select IDs with the instrument and prevents downloading of readings to the computer.
Display GEM Information
Project Setup
Set up Id’s
Download readings
Change Units of Measure
Export data to Excel

## Slide 3: Connecting LSGAM to the Instrument
Communication Connections is done by setting up drivers for the USB Serial communications or Configuring Bluetooth Serial communications.
The Instrument must be powered ON and in the Gas Reading screen
Launch the LSGAM software by clicking on the icon on your desktop
Once the software is installed on your computer with an internet connection this instrument communications program has Auto application updates. This enables you to always have the most current version of the LSGAM software.

## Slide 4: Connecting to LSGAM…Cont
Power on Unit and place in Gas Reading Screen
Simple Connection
Open LSGAM Program
Automatic Connection

## Slide 5: Once Connected, Now what?
GEM Info Displayed
Current Instrument Contents
Projects
Download/Import Readings
Instrument Settings/Configuration
Add ID’s/Projects/Comments and Questions

## Slide 6: Create a new project
Project Setup
Name Project
Create a new empty project
Create a new project with comments and site questions from current project
Create a new project from data in my instrument
Units of Measure (UOM)
SAMPLE PROJECT

## Slide 7: Create a new ID
Add New ID
Device ID must be 8 characters
Choose Device Type
Choose Flow Device (i.e. Orifice Plate, Accu-Flo)
Input Pipe and Orifice Diameter if Required
Input Pump Run Time
Enter GPS Coordinates if Applicable
Device Information

## Slide 8: Set Up Comments
Set up comments in either LSGAM or Import Comments from Notepad

## Slide 9: Send ID’s to the Instrument
Once IDs have been created in the project, they must be uploaded to the instrument. To perform this operation, select the desired IDs from the left hand table under the Project name (computer side), left click and hold while dragging the IDs to the right hand table and release the mouse button. This is action is known as a “Drag & Drop”.
Three basic methods of selecting IDs exist.
Select Specific ID(s)
Select a Range of IDs
Select All IDs

## Slide 10
Selecting All IDs
All IDs can be selected by selecting one ID in the Project window and then pressing Ctrl-A.
Now move IDs from the Project Side to the Instrument Side by dragging and dropping them. Click on the button to send these IDs to the instrument.
Send ID’s to the Instrument

## Slide 11: Data Management
After successfully creating projects, ID’s, and setting appropriate instrument settings, the instrument is now reading for field use.
When used in the field, readings are collected and stored within the instruments memory.
These readings must be downloaded from the instrument to be reviewed on the computer and stored for review at a later time.
The readings consist of the measured, input, and calculated parameters such as CH4, CO2, O2, Gas Temperature, Flow Rate, etc.

## Slide 12: Data Management
To view your readings from the instrument, select the Readings tab of the LANDTEC System Gas Analyzer Manager software. Then click on the Get Readings button.

## Slide 13: Data Management
To export the readings to a file, click the Export Readings button
This will open the Stamping Information Screen. Stamping information are details that are most often stored with the historical data but not directly stored by the instrument.
Clicking on Done will open the Export Readings to CSV screen.

## Slide 14: Data Management
Click the Save File button to save to your computer which will open a Save window.
Create a file name and click SAVE

## Slide 15: Data Management
Once saved open the file with Microsoft Excel

## Slide 16: LSGAM Contact: e-mail: bheerdink@qedenv.com
Toll Free: 1-800-624-2026
Web Site: www.landtecna.com